## Slide 1: DeepResection: segmentation of resections and ablations using neural networks

## Slide 2: Neural networks for image classification
Notes: https://medium.com/@tm2761/what-is-deep-learning-15b487adaaa3

## Slide 3: Neural networks for object detection
Problem 1: classify image
Problem 2: detect object in image
Notes: https://medium.com/@tm2761/what-is-deep-learning-15b487adaaa3

## Slide 4: Segmentation in epilepsy
Pre Resection
Post Resection

## Slide 5: Labeled data
37 subjects total
  23 Training
  7 Testing
  7 Validation
Notes: 79 resection images

## Slide 6
Convolution + ReLu Layer
Pooling Layer
Deconvolution + Concatenation Layer
224x224x32
112x112x64
56x56x128
28x28x64
14x14x128
28x28x64
56x56x128
112x112x64
224x224x32
3x3
image frame
1Ronneberger, et al. MICCAI. 2015:9351:234-4!
UNets: Deep learning for cardiac imaging
Labeled Frame
Notes: End-to-end
Large number of operators
Input Image
Data is estimated through the
Pixel channels, Feature channels
Standard 3x3 convolution followed by activation

## Slide 7
Convolution + ReLu Layer
Pooling Layer
Deconvolution + Concatenation Layer
256x256x1
128x128
64x64
32x32
16x16
32x32
64x64
128x128
256x256
2x2
Input image
Adapted from Ronneberger, et al. MICCAI. 2015
Segmented
8
8
16
16
32
32
64
64
72

## Slide 8: U-Net Architecture
256x256x8
128x128x16
64x64x32
32x32x64
16x16x72
256x256x16
128x128x32
64x64x64
32x32x128
256x256x1
Convolution + ReLu Layer
Normalization Layer
Upsampled Convolution + ReLu Layer
Normalization Layer
Merged Layers
Sigmoid Layer

## Slide 9: Model Architecture

## Slide 10: Approach
Total of 5690 brain MRI images from 37 epilepsy patients
pre-processed (DICOM -> PNG, padded)
Keras running on Tensorflow backend in Google Colab
Binary DenseNet CNN architecture (resection versus no resection)
Transfer learning: ImageNet starting weights
Trained with 10 epochs on ¾ of the dataset: loss of 0.0312, accuracy of 0.9895
Tested on the remaining ¼ of the dataset: accuracy of 0.9768

## Slide 11
DSC = 0.64

## Slide 12
DSC = 0.64

## Slide 13
Pre-op Image
Post-op Image
User Input
Output
Algorithm
1. Register pre to post
2. Apply atlas to pre
3. Segment post RZ
4. Mask RZ from atlas
5. Calculate volumes
Pre-op Image
Post-op Image
User Input
Output
Algorithm
1. Register pre to post
2. Apply atlas to pre
3. Segment post RZ
4. Mask RZ from atlas
5. Calculate volumes
Resected Regions
92% right hippocampus
0% left hippocampus
0% left ACC
…
Resected Regions
92% right hipp.
0% left hipp.
0% left ACC
Resection Volume
2cm²
…
Proposed Analysis Pipeline
vs
Notes: Overall analysis pipeline